## CollectiveAccess
Image | Object | Description | Date
| Auto-injector, RFID/disposable (OBJ_0028141) | Synthetic and metal White synthetic syringe with silver metal needle. None apparent. Appears complete.
| Microchip, RFID (OBJ_0028144) | Appears complete.
| Cap (OBJ_0028145) | Synthetic White, semi-transparent synthetic cap. None apparent Appears complete.
| Safety tab (OBJ_0028146) | Synthetic Red synthetic. None apparent Appears complete.
| Label, identification (OBJ_0028147) | paper Six peal and stick paper labels affixed to a waxy paper base. Labels are white with black printed bar codes and print. Print on one side reads "Animal ID/ IS011784 FDX-B/ 911001001383622" and other side reads "911001001383622" and "Expiry - Date: 12[/]07[/]2020". Appears complete.
| Envelope, syringe (OBJ_0028148) | Paper and synthetic Paper and clear synthetic wrap, which has blue, red and beige print. Print on outer packaging "ANIMAL ID/ ISO-Compliant-transponder", "animal-identification system/ ISO 11784[/]11785/ tag: 02.12x12mm/ FDX-B", 911PetChip tm", "YELLOW=PROCESSED IN EO GAS/ JAUNE=TRAITE SOUS GAZ EO/ GELB=EO GASBEHANDELD/ AMARILLO=TRATADO AL GAS EO/ GIALLO=STERILIZZATO A GAS EO", "1 pcs./ STERILE/ EO/ LOT 5 years", "DO NOT USE IF PACK IS DAMAGED/ NE PAS UTILISER SI L'EMBALLAGE EST ENDOMMAGE", "KEINE BESCHADISGTE VERPACKUNG VERWENDEN", "NON UTILIZZARE SELACONFEZIONE E'DANNEGGIATA". Appears complete.
| Needle & microchip, RFID/disposable (OBJ_0028149) | Synthetic, metal and paper. Metal needle through where the microchip comes out The microchip is not visible. Auto-injector and microchip are sealed in a paper and clear synthetic wrap, which has blue, red and beige print. Inside the packaging are also bar coded labels with black print. Print on bar code labels read "Batch 0082515 M4S ID/ ISO FDXB 12 mm/ 19/ 952000000991945/ Sterilized". This label is repeated 5 times. Print on packaging reads in part "STEAM procedded=/ Brown, Braun, Brun,/ Marron, Brazowy". Appears complete.